## Lab Request Form
Revised 2024/08/21 |  |  | Hummingbird Analytical Lab
Faculty of Science and Technology
University of Belize
Hummingbird Avenue, Belmopan City, Belize
analytical.laboratory@ub.edu.bz
822-1000 ext 1097/1089/1092
Quote #:
Laboratory Request Form
Date: |  |  | Phone Number:
Client: |  |  | Phone Number:
Contact Person: |  |  | Email Address:
Sample Collection: | Please Select |  | Nature of Sample: |  | Please Select
Sample Identity:
Laboratory Tests
*Kindly select all that apply
Water Quality
Chemical Tests |  | # of Samples |  | Physical Tests |  | # of Samples
Parameters |  |  |  | Parameters
Total Nitrogen Low Range |  |  |  | Temperature
Total Nitrogen High Range |  |  |  | Turbidy
Biochemical Oxygen Demand |  |  |  | pH
Chemical Oxygen Demand |  |  |  | Salinity
Dissolved Oxygen |  |  |  | Conductivity
Nitrates Low Range |  |  |  | Total Suspended Solids
Nitrates Mid Range |  |  |  | Total Dissolved Solids
Nitrates High Range
Reactive Phosphates
Total Phosphorus
Ammonia, Nitrogen
Sulfates
Total Chlorine
Free Chlorine
Iron, Total
Magnesium, Total
Calcium + Magnesium
Manganese
Pesticides
Analytes |  | Matrix | # of Samples
Organochlorines |  | Please Select
Organochlorines |  | Please Select
Organochlorines |  | Please Select
Heavy Metal Tests
Metals |  | Matrix | # of Samples
Total Mercury |  | Please Select
Total Mercury |  | Please Select
Total Mercury |  | Please Select
Soil Tests
Parameters |  | # of Samples
Soil Organic Carbon (%)
Bulk Density
pH
Conductivity
Phosphorous
Potassium
Calcium + Magnesium
Total Exchangeable Acidity
Gypsum Requirement
Exchangeable Sodium
Nitrate Nitrogen
Notes
Sample Collection
Self: The personnel submitting the samples or a personnel of the institution requesting the test was/were the sample collectors.
Third Party: The institution requesting the test acquired personnnel outside of the said institution to conduct sample collection.
Nature of Sample
Monitoring: The tests requested are for routine checks, quality control, research and/or permit/licensing purposes.
Spill/Contamination: The tests requested are due to a known environmental spill, suspected high level contamination
Sample Identity
Refers to the specific type of sample to be analysed. For example: Seawater, Marine Sediment, Agricultural Soil, etc.

## Sample Acceptance Criteria
Revised 2024/08/21
Requirements for Sample Acceptance
I. General
Sample Labelling & Documentation
Sample Identification legible and done using water resistant or smudge-free ink.
Laboratory Request form properly completed with requested information.
Chain of Custody form properly filled with requested information and appropriate signatures.
II. Water Quality
Sample Collection and Integrity
Sample collected in a suitable sterile container.
Polypropylene/Polyethylene/Quartz/Tetrafluoroethylene (TFE)/Glass/Amber or Brown glass recommended.
Glass is typically used as a good general-purpose container. Soft-glass containers should NOT be used
to collect samples for metal analysis in the μg/L range.
Sample splitting done correctly (if necessary).
Sample splitting/division is often necessary for intra- or inter-laboratory studies, confirmation,
alternative techniques, or to keep additional samples for reference or stability studies.
Do NOT fill the smaller containers individually from the water source.
A large volume of sample is collected in a single container, mixed fully to ensure a homogenous mixture,
and divided/transferred to smaller containers of the same type as the initial collection container.
Adequate sample size collected for analysis (500-1000mL).
Samples that are to be analysed for Biochemical Oxygen Demand (BOD) along with other water quality parameters, require a separate sample of 1000mL volume be brought in as well.
No signs of breakage or leakage.
Storage & Transport
Proper preservation measures taken for transport (transported on ice).
Proper sample preservation and holding/storage time followed if immediate analysis is not possible.
Samples should be analyzed immediately after collection. However, if samples will not be processed within
24 hours of collection , they can be preserved using pH control, chemical addition, refrigeration or freezing.
Refer to the table below for recommended preservation and holding time per parameter. The
maximum holding times given are the maximum time samples can be held and still be valid for analysis.
| Parameter | Method of Preservation | Maximum Holding Time
| Alkalinity | Refrigerate, 4 ≤ 6 °C | 14 days
| Ammonia | Refrigerate, 4 ≤ 6 °C H2SO4 to pH less than 2 | 28 days
| Biochemical Oxygen Demand | Refrigerate, 4 ≤ 6 °C | 48 hours
| Chemical Oxygen Demand | Refrigerate, 4 ≤ 6 °C H2SO4 to pH less than 2 | 28 days
| Chloride | Refrigerate, 4 ≤ 6 °C, analyze within 24 hours. | 28 days
| Chlorine, total residual | Refrigerate, 4 ≤ 6 °C, analyze within 24 hours. | Analyze Immediately
| Hardness | HNO3 to pH less than 2, H2SO4 to pH less than 2 | 6 months
| Mercury | HNO3 to pH less than 2 | 28 days
| Nitrates | Refrigerate, 4 ≤ 6 °C | 48 hours
| Nitrate-nitrite | Refrigerate, 4 ≤ 6 °C H2SO4 to pH less than 2 | 28 days
| Organophosphate | Filter immediately; refrigerator, 4 ≤ 6 °C | 48 hours
| Oxygen, dissolved probe | Refrigerate, 4 ≤ 6 °C, analyze within 24 hours. | Analyze Immediately
| Residue, Total | Refrigerate, 4 ≤ 6 °C | 7 days
| Specific Conductance | Refrigerate, 4 ≤ 6 °C | 28 days
| Sulfate | Refrigerate, 4 ≤ 6 °C | 28 days
| Temperature | Refrigerate, 4 ≤ 6 °C, analyze within 24 hours. | Analyze Immediately
| Turbidity | Refrigerate, 4 ≤ 6 °C | 48 hours
III. Pesticide Analysis
Sample Collection & Integrity
Matrix - Water
Sample collected and transported in a suitable sterile container (see Section II for recommended
collection containers).
Adequate sample size collected for analysis (1000mL).
No signs of breakage or leakage.
Matrix- Soil
Soil samples collected using a core sampler/grab sampler/trowel (depending on location
and accessibility to area to be sampled) and includes the upper 6 inches of sediment.
Biota samples collected __________________________________________________________
_________________________________________________________________________________.
Appropriate sample size collected for analysis (1000mL).
Samples are placed in a pre-treated foil (treated with a deionized water and acetone rinse)
properly folded to form a pocket and placed into a double-bagged Ziploc (label on outer bag).
Sample bags properly sealed to avoid contamination - no sign of tears or leakage.
Storage & Transport
Proper preservation measures taken for transport (transported on ice).
Proper sample preservation and holding/storage time followed if immediate analysis is not possible.
If biota/soil samples will not be processed within 24 hours of collection, they should be refrigerated at 4°C
for a maximum of __ days. If a longer storage time is needed, samples should be frozen at __°C for __ days.
Water samples must be iced or refrigerated at 4°C upon collection until time of extraction. If extraction
will not be done within 72 hours of collection, the sample should be preserved through pH control using
sodium hydroxide or sulphuric acid to adjust sample pH between 5 - 9.The volume of acid or base used
should be recorded. If the presence of Aldrin is to be determined, sodium thiosulphate must be added
when residual chlorine is present. Field test kits are available for measuring residual chlorine. Samples
should be extracted within 7 days after collection, and analyzed within 40 days of extraction.
IV. Soil Analysis
Sample Collection & Integrity
Soil samples for organic carbon and bulk density analysis collected having three subplots per plot.
Soil sample tube (having a volume of 100cm³) is used to collect samples from the center of each subplot -
completely filling it. Three samples are taken from the center of each plot's subplot at a depth of 1-10cm,
10-20cm, 20-30 cm, and mixed into one ziploc bag per subplot. Any significant roots are removed from
the sample, and plot ID and subplot number placed on bag following guidelines given in Section I.
Samples properly homogenized (mixed) per subplot, and air-dried prior to transportation.
Proper sample size collected for analysis (300cm³).
Ziploc bags properly sealed for transport to avoid contamination and sample loss.
Storage & Transport
Samples stored either at 4°C or frozen within 24 hours of collection for transport.
Samples should be stored in this manner within 24 hours of collection to minimize organic matter
decomposition and microbial growth. Prior to analysis, frozen samples are to be thawed and
dried. Once dried, samples can be stored for years with minimal decomposition of organic
matter.
V. Heavy Metal Analysis
Sample Collection & Integrity
Matrix - Water
Samples for Total Mercury Analysis (HMA-TM) are collected in a sterile suitable container.
Ninskin bottles or white or colorless wide-mouth polyethylene/polypropylene sample bottles preferred.
Adequate sample amount collected for analysis (150mL minimum).
No signs of breakage or leakage.
Sample containers properly labelled following guidelines in Section I.
Matrix - Sediments/Soil
Samples for Total Mercury Analysis are collected in a sterile suitable container.
Wide-mouthed polyethylene/polypropylene containers or Ziploc bags preferred.
Appropriate sample size collected for analysis (100g minimum).
No signs of breakage or leakage.
Sample containers properly labelled following guidelines in Section I.
Storage & Transport
Proper storage measures taken for transport to lab (stored at ≤ 6°C for transport).
Proper sample preservation and holding/storage time followed if immediate analysis is not possible.
Refer to the table below for preservation and recommended storage and holding times. Maximum
holding times are the maximum amount of time a sample can be held and still be valid for analysis.
| Matrix for HMA-TM | Method of Preservation | Maximum Holding Time
| Water | Preserve pH at < 2 upon collection using concentrated HNO3; refrigerate at ≤ 6°C | ≤28 days from collection
| Sediments/Soil | Refrigerate at ≤ 20°C | ≤28 days from collection

## Sheet2 (hidden)
Please Select | Please Select | Please Select | Please Select
Self | Monitoring | Water | Total Mercury
Third Party | Spill/Contamination | Soil/Sediment
Biota
Please Select
Water
Soil/Sediment
Biota